Leopold-Franzens-Universität Innsbruck

Institute of Computer Science

Semantic Technology Institute Innsbruck

Master’s thesis

for attainment of the academic degree of

Master of Science

Data-driven decision making

for approaching the near-zero energy building vision in construction

submitted by

Angela Popa

Matr.-Nr.: 1615659

Supervisor: Ass.-Prof. Dr. Anna Fensel, University of Innsbruck, Austria

Co-Supervisor: Dr. Alfonso P. Ramallo-González, University of Murcia, Spain

Innsbruck, 2020

Statement of Authorship

I hereby declare that I am the sole author of this thesis and that I have not used any sources other than those listed in the bibliography and identified as references. This work has not been submitted to any other examination authority.

Date  	Signature

Powered by the European Directives on Building Energy all European countries are ought to find solutions to lower the consumption of non-renewable resources and to lower the dependence of the Union on energy imports.

By using near-zero energy concepts and implementing renewable energy in buildings, we are able to better understand the building’s behaviour. Consequently, we can create a more universal application for tenants. In addition, we reduce the demand for primary energy (heating, domestic hot water and electric energy consumption) by analysing renewable sources. This will get us closer to the vision of nearly-zero energy consumption as a basic requirement for building construction.

Keywords near-zero energy buildings, energy performance, semantic models.

Contents

I  Introduction	1

1  Motivation	1

2  Energy Efficiency	2

2.1  Legal Framework	3

2.2  Building Standards	6

2.3  Building Rating and Certification Systems	11

2.3.1  Building Rating Systems	11

2.3.2  Labelling	12

2.3.3  Life Cycle Assessment Type Certification Systems	13

2.3.4  Energy Performance Certification Systems	14

2.3.5  Country Particularities on Building Certifications	17

2.4  The Energy Performance Gap	19

3  Low-Energy Buildings	21

3.1  Requirements	22

3.2  Challenges	23

4  Hypothesis	23

II  Related Work	25

1  Frameworks	25

1.1  IoT - Smart Homes	25

1.1.1  Integration Framework for Smart Homes	??

1.2  Energy Consumption Awareness Framework	26

1.3  Energy Consumption Prediction Framework	27

2  Tools	28

2.1  Building Energy Simulation Software	29

2.1.1  Building Assessment Simulation Software	29

2.2  Building Certification Software	29

2.3  Building Management Systems	30

2.4  Energy Efficiency Testing Framework	31

2.4.1  Collaboration on Energy Performance	31

3  Building Information Modelling - BIM	32

3.1  Standards and Datamodels	33

3.1.1  Semantic models	??

3.1.2  BIM Platforms	??

III  Requirements and Methods	??

0.1  Recommender Systems	??

0.2  Use Cases	??

0.3  Methods	??

0.3.1  Theoretical Background	??

0.4  Reasoning	??

0.5  Datasets	??

0.5.1  Preparation of data	??

IV  Implementation	??

1  some sections	??

V  Results	??

VI  Conclusion	??

1  Conclusion	??

VII  Future Work	??

A1  Austrian Energy Certificate	??

A2  Romanian Energy Certificate	??

A3  Danish Energy Certificate	??

A4  German Energy Certificate	??

# I  Introduction

Near-zero energy buildings are not only a new trend, but a necessity, if we take into account the environmental issues that humanity is currently facing. The decrease of the consumed energy is an urgently needed measure. By lowering the energy used in buildings for heating, cooling and appliances, we contribute to the minimisation of the effects of climate change. Near-zero energy buildings are designed to consume as less energy as possible by not compromising the thermal and visual comfort of the building occupants.

This thesis was structured as follows. First we motivated and introduced the topic of energy efficient buildings. Then we summarized the current standards and certification schemes for energy efficient buildings. We described the software frameworks and tools available in the field of energy awareness and energy prediction.

[inline]TODO: add a short description of the rest of the chapters after their topic is fixed

## 1  Motivation

Driven by the increasing concerns regarding climate change the European Union developed a legal framework for energy efficiency measures, in form of directives, in order to lower the impact on our environment.

According to the statistics published in the European Energy Directives almost 50% of the European Union’s final energy consumption is used for heating and cooling, of which 80% is used for residential and non-residential buildings. This makes the building sector an important energy consumer. These numbers motivate the European Union to refurbish the European building stock in order to achieve higher energy efficiency values. The current European Directives encourages nearly zero-energy consumption as a future basic requirement for construction.[72] It has been proven, e.g. with the PassivHaus standard, which we will present in detail later in this chapter, that buildings can use much less energy.

This thesis and more specific the resulting application aims at helping building occupants and building owners, which are normally no building experts, in properly classifying their dwellings based on the available data of their building. Furthermore, they receive recommendations on how to elevate their dwellings for a higher certification level.

The ultimate goal of this thesis is to create data-driven models, which help owners and future tenants to control their buildings. To reach this state, first of all buildings must be investigated paying special attention to heating (heating and domestic hot water - DHW), electric energy consumption and possible solar energy gains (e.g. gathered from photovoltaic solar panels (PV) or passive solar systems). All these considerations have significant influence in three main aspects:

• Limitation of environmental impact

• Becoming more self-sufficient

• Awakening the inhabitants awareness in terms of energy consumption

The above considerations have an impact on each other and should be treated holistically. This research aims at finding a solution for these challenging problems.

In this thesis we focus on building renovations. According to the European Directive, each Member State has to renovate 3% of their building stock yearly, with focus on the public sector. The ultimate goal by 2050 is to renew the building stock into nearly zero-energy buildings.

[inline]TODO: reformulate the above aim,

in case the practical part will have a completely different goal

[inline]TODO: add key questions

[inline]TODO: add argumentation flow

## 2  Energy Efficiency

The term energy efficiency stands for “using less energy inputs while maintaining an equivalent level of economic activity or service”[22]. Put in other words, efficiency is the ratio between a costly input and the desired outcome. In the case of buildings, desired outcomes may be:

• thermal comfort

• adequate light levels

• air quality

and costly inputs may be:

• the amount of gas used by boilers

• the amount of electricity used for lights

• the amount of electricity used for mechanical ventilation systems

The higher the energy efficiency, the least of the costly inputs need to be used.

On the other hand, the term energy saving is “a broader concept that also includes consumption reduction through behaviour change or decreased economic activity”[22]. Actually the two terms are often used interchangeably.

### 2.1  Legal Framework

The European Union is concerned about the consequences of climate change on the Union’s economy, so it empowers its Member States to improve the energy efficiency (especially in buildings) and to lower greenhouse gas emissions (especially in transportation). In this regard the European Parliament and the European Council published in the past several years the European Directives and the accompanying documents as a legal framework for energy efficiency measures. For the building sector, the focus changed from energy performance of buildings in 2010 to energy efficiency of buildings in 2012 and 2018. With the 2018 Energy Efficiency Directive[72], which is the up-to-date Directive at the time of writing, a set of measures and goals were published in view of the years 2030 and 2050. The requirements are to use energy more efficiently at all stages of the energy chain (energy generation, transmission, distribution and end-use consumption). Additionally each Member State has to develop its own methods for building energy assessment, which will lead to building energy certificates.

With this Directives the EU aligns to the global vision of reducing the effects on climate change. The Paris Agreement is an effort of the United Nations to motivate all nations into a common goal, that of combating climate change and adapt to its effects. A research by the Regulatory Assistance Project[65] shows that without ambitious energy efficiency targets, the EU will have difficulties in meeting the goals set in the Paris Agreement.

The novelty in the latest EU Directive published in 2018 is the Smart Readiness indicator. It represents a new dimension in the building energy efficiency sector. The Smart Readiness Indicator (SRI) is a optional policy instrument with the aim of raising more awareness about the benefits of smart building technologies. Smart Readiness is an indicator, that “should be used to measure the capacity of a building to use information and communication technologies and electronic systems to adapt the operation of buildings to the need of the occupants and the grid and to improve the energy efficiency and the overall performance”[72]. According to the EU Energy Directives, by mid 2020 an optional scheme for rating the smart readiness of buildings will be published. This scheme will include the definition of the smart readiness indicator and a methodology for calculating this indicator. This methodology will take into account technical features like smart meters, building automation and control systems.[72]

[inline]TODO: write more about Smart Readiness. The additions to the EU Directive 2018 regarding the Smart Readiness Index will be published mid 2020.

The technologies existing inside a house should be able to communicate with each other. If this is not the case, then an effort should be done to improve this communication, instead of adding more and more gadgets.

Additional goals of the European Union are to become a competitive low carbon economy as well as an autonomous energy provider. The ambitious energy savings are set at 20% by 2020 and 32.5% by 2030. Fore example, every 1% energy saved reduces the gas imports by 2.6.%. Energy savings would slowly lead to the vision of an European energy autonomy.[23].

The European building stock is quite old (around 80% of buildings in Europe are over 30 years old, of which not few are over hundred of years old). The big boom in construction was between the years 1962 and 1990, when building energy regulations were limited. Non-renewable sources are widely used for heating throughout the European Union (gas and oil in North and West Europe, and coal in Central and Eastern Europe where district heating is the most common heating system). Renewable energy sources (solar heat, biomass, geothermal and wastes) have a share of 21%, 12% and 9% in total final consumption in Central and Eastern, South and North and West regions, respectively.[26]

But the progress of renewing the building stock inside the EU is still slow: only 1.4% of all buildings are renovated each year, 64% of space heaters are still inefficient and 44% of windows are still single glazed. The energy efficiency already improved in the area of technical equipments (e.g. heat pumps, condensing boilers and cooling supply technologies) but further research and innovation is needed for new construction materials and methods with a potential for energy savings.[24]

The slow pace of renovations are due to different reasons. Some identified barriers for the European Union’s energy efficiency plan [22][45] are:

• the split incentives: who bears the cost for the renovations? The tenant receives a higher living standard and the owner might sell the dwelling for a better price. But who pays and in which percentage? The problem arises when owners believe that renovations are not worth the investment since they will not be the ones enjoying the benefits, but the tenants are. And the tenants refuse to invest as well since their renting contracts are usually to short for renovation investments to pay off.

• the missing qualified manpower: the energy efficiency strategies require specially trained craftsman for this kind of goals.

• the lack of awareness of efficient technologies

• the obstacles in investment: e.g. the high prices for cutting-edge technologies.

To overcome some of this barriers a better evaluation, monitoring and verification is needed. Furthermore, higher investments and also policy innovation is required.

Improvements in buildings can save money for the building occupants. The households in the European Union spend on average 6.4% of their income on home-related energy use, about two thirds for heating and one-third for other purposes. In 2012 almost 11% of the population of the EU were unable to keep their homes adequately warm. This is also known as fuel poverty, which can lead to anxiety and depression[59]. Energy efficiency should be a mandatory requirement and the energy efficiency level should be made visible.

Figure  1: Household energy consumption

The European Union offers funds which can be accessed for energy efficiency improvements in residential buildings. The European Local ENergy Assistance (ELENA) offers support for the implementation of energy efficiency measures and for the integration of renewable energy sources and intelligent systems in buildings. The Smart Finance for Smart Buildings (SFSB) initiative tries to make investments in energy-efficiency in buildings more attractive for private investors.

The non-renewable sources are not only of a finite amount, but for example in the case of fossil fuels, they also emit toxic gases while they are burned in order to generate heating. The toxic gases have a crucial influence on the health of the inhabitants and on the surrounding natural environment.

Since transportation has the second largest potential[22], after buildings, a further goal is to enable a decrease of greenhouse gas emissions. The aim is at 40% by 2030 (in comparison to the 1990 emissions) and the ambitious target of 80%-95% by 2050 [72]. The usage of electric vehicles contribute to the greenhouse gas emissions and are quite popular nowadays. Some parking lots offer free charging stations for e-cars in order to encourage their usage [69]. The e-charging facilities are a requirement of the European Union for renovated parking lots [72]. In the future, electric cars might be viewed as appliances of buildings (e.g. family houses, office buildings), in which case, this cars have to be taken into account in the energy performance of buildings.

Passive solutions like street vegetation, green roofs and walls that provide insulation are also encouraged by the European Union[72].

### 2.2  Building Standards

A standard is a set of guidelines and criteria against which a product can be rated. Some standards are nation wide, e.g. DIN in Germany, Ã–NORM in Austria, some are international e.g. EN in the European Union and some standards are worldwide standards - the ISO standards. The International Standards Organization (ISO) manages standards and certifications worldwide that frequently become law or form the basis of industry norms. ISO defines a standard as: “a document, established by consensus, approved by a recognized body that provides for common and repeated use as rules, guidelines, or characteristics for activities or their results.”[78] International standards are the common language of business or industrial partners. Common standards related to buildings are settled by organizations such as ANSI, ASTM, or ASHRAE.

In the building construction industry assessment standards are relevant for energy performance certifications. There are different standards in use today, the most important ones are presented next. They differ in their approach but also in their scope.

The PassivHaus standard was developed by the PassivHaus Institute, a German independent organisation in the mid 1990s. The PassivHaus standard is currently in use also in Austria, in the UK , as well as in the US. The goal of this institute is to establish an effective low-energy building standard. In order for a building to be accredited with the PassivHaus standard, the PassiveHause Institute validates the building’s assessments for compliance. The PassiveHaus Institute developed a software package called PassivHaus Planning Package, which can be used by the paying partners, for which the Institute offers special training.[63]

The design criteria of the PassivHaus standard are[11],[76],[47]:

• The energy needed to heat the building is less than 15 kWh/m2 per year.

• Airtightness is less than 0.6 air changes/hour, meaning how much air leaks through the fabric of the building.

• Primary energy, the energy that is needed to power all of the activities within the building (heating, hot water, lighting, cooking, appliances, active cooling) has to be at most 120 kWh/m2 per year.

• Thermal comfort must be met for all living areas during winter as well as in summer. The frequency of overheating, where temperature inside the house rises over 25C in summer, must be less than 10% of the hours in a year.

The PassivHaus standard demands energy efficient building elements, e.g. in some climates the usage of highly efficient windows with triple-pane insulated glazing with air-seals and specially developed thermal break window frames [80]. The coated glass helps reflect heat back inside the house in winter (see figure 3). The windows are placed in such a way that it keeps optimum heat levels, e.g. the largest windows are placed towards south to help keep the house warm or placed under a deck so that the winter sun, lower in the sky, penetrates the house directly, but the summer sun, which is higher in the sky is shaded by the deck and keeps the house cool (see figure 2).[35]

Figure  2: Windows in the PassivHaus Standard

Figure  3: Sunlight and heat management of windows in the PassivHaus standard

The indoor temperature of a PassivHaus is evenly distributed. The surface temperature is similar to air temperature (see figure 4). A PassivHaus building is airtight and dry in comparison to a typical building of the same climate which feels draughty and might create condensation (see figure 5).

Figure  4: PassivHaus vs. typical building’s indoor temperature distribution

Figure  5: PassivHaus vs. typical building’s air movement

PassivHaus shows a successful design for low-energy buildings.[63] The costs of applying the PassivHaus concept are higher than those of conventional building procedures (due to the energy performance efforts e.g. the usage of high-quality materials in order to comply with the PassivHaus design concepts, or certification costs), but in the long run the investment is returnable due to the low energy consumption of PassivHaus buildings. PassivHaus concepts aim for high energy performance but not necessarily for high technology.

The Association for Environment Conscious Building (AECB), who developed a sustainable building standard in the UK, choose to adopt the PassivHaus standard already in 2005 since it aligns with the AECB’s strategic approach[14], [30]:

• enables the selection of the best quality building fabrics

• energy performance is approached holistically (including lighting and appliances)

• the targeted values for energy consumption and emission savings are clearly appointed and measured

Standard Assessment Procedure (SAP) is a governmental initiative in the UK for measuring the energy rating of residential dwellings. It calculates the annual energy costs for space and water heating, for lightning, and it also calculates the CO2 emissions. SAP is the backbone for Energy Performance Certificates in the UK. It is compliant with the European Directive for Energy Performance of Buildings. There are different versions of this methods SAP 2012, SAP 2016 and SAP10. At the time of writing the official version is 2012, the later ones are consultation versions and not yet official. The drawback of earlier SAP standards was, that it did not provide accurate calculations for low-energy buildings as it is debated in [14].

Compared to the PassivHaus standard, which was especially developed for low-energy buildings, the SAP standard tries to catch up in their methodology to better assess the low-energy buildings. In the SAP recommendation the dwellings are rated according to their performance e.g. 1-20 points corresponds to the lowest label "G", were as 92 points and above corresponds to the highest label, that is "A". The calculations in the SAP methodology are based on BREDEM (the Building Research Establishment Domestic Energy Model). Among other characteristics, the BREDEM model allows the user to take account of the heating season length and of building location inside the UK. The SAP methodology was developed to be used as a worksheet. But there are several software tools that take SAP as calculation methodology e.g. FSAP or Elmhurst’s Design SAP Energy Software.

The ASHRAE Standards are a set of standards developed by the American Society of Heating, Refrigerating and Air-Conditioning Engineers (ASHRAE) in the US. Their goal is to offer guidelines for indoor-environment-control technologies for example in areas such as refrigerant emission reduction, air quality, thermal comfort and building energy efficiency. The ASHRAE organisation works closely with the US government and research institutes to develop standards for the building industry. These standards are currently in use worldwide. Some ASHRAE standards that are closely related to the energy performance of buildings are:

• ASHRAE Standard 55 - the Thermal Environmental Conditions for Human Occupancy Standard, is used worldwide in the industry, but also in research papers, to evaluate comfort of the building occupants. The ASHRAE Standars 55 comprises two evaluation methods, one is a survey conducted on the occupants and the other method is executing technical measurements with the aim to evaluate the buildings comfort. Some more details are presented in teh next paragraphs.

• ASHRAE Standard 62 - Ventilation for Acceptable Indoor Air Quality

• ASHRAE Standard 90.1 - the Energy Standard for Buildings except Low-Rise Buildings

• ASHRAE Standard 90.2 - Energy-Efficient Design of Low-Rise Residential Buildings

• ASHRAE Standard 100 - Energy Efficiency in Existing Buildings, aims at providing criteria which will lead to energy performance of existing buildings. This standard takes into account the different climate zones in the US

• ASHRAE Standard 189.1 - Standard for the Design of High-Performance Green Buildings

A special set of building standards, the thermal comfort standards, are currently in use for evaluating the thermal comfort of buildings. Since the indoor temperature control (e.g. air conditioning) contributes to the carbon fingerprint of a building, the topic of the thermal comfort is of a high importance in the design of low-energy buildings.[56] These standards take into account the energy needed to ensure a proper comfort level for the inhabitants.

The thermal comfort standards are based primarily on mathematical models. The first comfort model, which was integrated in a standard, was Fangerâ€™s static model. It was used in the standards ASHRAE 55 and ISO 7730 [4]. The Fangerâ€™s static model, also called the Predicted Mean Vote (PMV) model, was developed on the basis of laboratory studies, in a controlled environment. In consequence, this model is intended mainly for sealed air-conditioned buildings, where the windows are non-operable and the occupants interact with an artificial indoor environment. This model was found not to be suited for sealed air-conditioned buildings in hot climate zones, but it is still used in lack of a suitable model [4]. The Fangerâ€™s static model creates a relation between six primary factors: four physical variables (air temperature, air velocity, mean radiant temperature, and relative humidity), and two personal variables (clothing insulation and activity level). The index resulted from this model can be used to predict the average thermal sensation of a group of people in a closed space.[39]

The Adaptive Thermal Comfort model is a newer approach to the evaluation of thermal comfort in buildings. The adaptive comfort model, in contrast to the Fangerâ€™s model, does not directly take into account the comfort six factors, instead this factors are deducted from the outdoor temperature [39]. After a revision of ASHRAE 55 in 2004, an adaptive comfort model was introduced into this standard.

Adaptive “is generally interpreted as the ability to open a window, draw a blind, use a fan, but it also must include the usage of clothing. Changes in clothing, activity and posture and the promotion of air movement will change the conditions which people find comfortable.“[58] The adaptive approach to thermal comfort is based on the natural tendency of people to adapt to changing conditions in their environment.[39] An adaptive comfort standard allows higher temperatures in summer when outdoor temperatures are high, because inhabitants are able to better adapt to that warmer environment.[39] The promoter of the adaptive approach was the European project Smart Controls and Thermal Comfort (SCATs). It aimed to reduce the energy used by air conditioning systems [57], [36]. Naturally ventilated buildings typically use about half the energy of ones which are air-conditioned. From the standpoint of low-energy buildings, a variable indoor temperature standard (e.g. adaptive thermal comfort standard) is of advantage. Whereas a constant temperature standard is against the use of natural ventilation and leads to the consumption of more energy.[58]

Currently, the ASHRAE 55 standard and the European Standard EN 1521 (as of 2019 called EN 16798: Energy performance of buildings - Ventilation for buildings"), propose the Fangerâ€™s static model for mechanically heated and/or cooled buildings and the Adaptive Thermal Comfort Model for occupant controlled, naturally ventilated buildings.[4] The adaptive model is implemented differently in the two standards ASHRAE 55 and EN 15251/16798. The ASHRAE 55 standard uses the monthly mean outdoor air temperature, whereas the EN 152/167981 standard uses the weighted running mean of the outdoor air temperature. This difference makes the EN 15251/16798 more realistic [36]. The ASHRAE Standard 55, focuses on mechanically ventilated buildings (air-conditioned buildings), whereas the European Standard 1521/16798 applies to free-running buildings, that is, buildings where the occupants operate windows by themselves. In free-running buildings the outdoor temperature influences the indoor temperature. In the EN 1521/16798 standard, it is assumed that the inhabitants can freely choose their clothing, and adapt to the indoor temperature change [36].

In conclusion, the SAP method offers energy performance models, so that all kinds of buildings (from non-efficient throughout efficient ones) can be rated, whereas the PassivHaus standard offers models that aim for the best performing buildings, regarding their energy consumption. ASHRAE offers a suite of standards, covering a variety of scopes: thermal comfort of tenants, energy performance in buildings (among them also historical buildings) etc. The European Standard EN 16798, in the area of adaptive comfort models, gives parameters that need to be respected in the design of building heating, cooling, ventilation and lighting systems, in order to make them more energy efficient. This standard takes into account a year-round evaluation of the indoor thermal environment.

### 2.3  Building Rating and Certification Systems

A certification is a confirmation that a product meets the defined criteria of a standard. ISO defines certification as: "any activity concerned with determining directly or indirectly that relevant requirements are fulfilled"[78]. An Energy Performance Certificate might show how liveable or not is a building.

Rating systems are a type of certification systems that rates or rewards relative levels of compliance or performance with specific requirements and criteria. Rating systems and certification systems are frequently used interchangeably.[78] In the building sector there is a wide variety of rating schemes: asset versus operational, whole building versus tenant ratings, “just energy” versus life cycle or sustainability ratings. This different rating types will be described in the next paragraphs.

#### 2.3.1  Building Rating Systems

Building Rating systems are a type of certification systems that rates or rewards relative levels of compliance or performance with specific requirements and criteria. There are two types of assessment methods that can be distinguished based on the assessment method, operational rating and assessment rating. The two methods are not opposite, but each has it’s own focus and goal.

An operational rating, or as the alternative name of metered energy consumption rating already states, it is a rating method that takes into account mainly the consumption data gathered from utilities. Since it relies on already consumed energy data, this type of rating can be used only for existing and operating buildings. Ideally, buildings in which the change of tenants is seldom and so the energy consumption is stable and predictable. The advantage of this type or rating is, that it documents how improvements of energy efficiency measures, including improvement on user behaviour, can change the consumption patterns. The disadvantage of the operational rating is, that it is reliable only after about two years of operation of a new building, after the building fabric, the operational building systems and the users have accommodated. Operational ratings are usually conducted periodically and are more like a “longitudinal” view of building performance. [44],[7]

An asset rating, or calculated energy rating, is an assessment type that calculates the energy use in relation to the attributes of a building and the systems incorporated inside a building. This type or rating is suitable on one hand, for new - still in the design stage or built but not yet operated - buildings. In this context the asset rating is useful in documenting the compliance of buildings and can provide guidelines for how much energy a building should be using under standardized conditions. On the other hand, the asset rating is used in already operating buildings, where the energy consumption pattern is quite unstable due to frequent change of tenants. In some context, this type of rating might be more useful than other rating types, e.g. for small buildings where the new occupants might have a different energy need and the rating should not be influenced by the energy use of previous tenants. The asset rating is more like a one-time snapshot of the current or the predicted building performance. [7] On large and complex buildings the asset rating assessment can be more costly than the operational rating method. This is due to the fact that asset rating relies on calculated energy models, which would be needed to be recalibrated at each re-rating of the building.[44],[7]

Some countries, like Denmark, use the asset (calculated) rating for all small buildings, old and new, but for large and complex buildings the rating of choice is the operational (measured) rating type, partly because some buildings require regular certifications and in this case the operational rating type proofed to be better suited from the financial point of view. But most countries are using the operational assessment type for large and complex buildings, and the asset (calculated) rating type for small and new buildings.[44]

The different dimensions of rating schemes makes it difficult to compare buildings for energy efficiency, but some key elements can be used as a framework to compare this rating schemes. The key elements of rating schemes identified in the report [7] are:

• type: if a rating scheme is mandatory or voluntary, and what is the cause of requesting/issuing an assessment (selling or renting - this might be done once every 10 years, which makes the rating scheme outdated; or already at the stage of advertising a sell/rent where the rating is as a marketing tool;)

• timing: if it is a regularly performed assessment, like the operational rating, or an one-time assessment like the asset rating

• disclosure: if the rating schemes and/or the rated buildings are publicly available

• assessment type: the type of the assessment method (asset or operational or both), what are the reference values for the performance scale (absolute or relative values to similar buildings

• visualisation: if the certification document is issued with enough details. Does it contain recommendation for the improvement of energy performance? Does it include predictions on future consumption?

The philosophy, the approach, and the certification method may vary across these systems, but they are all designed to reduce the overall impact on the environment and on the human health. None of the certification systems are one-size-fits all, each building project is different[78]. Future research might lead to certification systems that fits all. A building should aim for more than one certification, one for each point of view.

There are four principles that should be considered when evaluating a building rating or certification system [78]:

• Science-based, where the results and decisions must be reproducible by others using the same standard.

• Transparent, where the standards and processes for awarding the certification should be transparent and open for examination.

• Objective, where the certification body should have no personal interest in the outcome.

• Progressive, where standards should advance industry practices.

As buildings and users change over time, most certification schemes have a limited validity, typically between five and ten years. Each country has a different rating system, some examples of rating schemes are presented in section 2.3.5.

#### 2.3.2  Labelling

Some countries introduced voluntary certifications schemes, called energy labels. This are awards offered by the government for low-energy buildings. For example in Singapore, yearly the best 25% of buildings that achieve a certain energy saving goal, receive the BCA Green Mark label. In the USA and partly in the EU the label EnergyStar was in use that marked the low energy consumption of appliances. EnergyStar is discontinued as of 2018. The European Union intends to apply labelling frameworks for building components (e.g. windows). The reason for this is, that more than 40% of windows in the EU are still single-glazing, and another 42% are outdated uncoated double-glazing.[22]

#### 2.3.3  Life Cycle Assessment Type Certification Systems

Life Cycle Assessment type ratings or certification systems focus on buildings as a whole, from design, to construction until demolition, while taking into account the environmental impact.

Environmental concerns are the thriving force behind the development of Life Cycle Assessment certifications systems. These certification systems are not only focusing on the energy consumption of a building, but they are concerned about the complete life cycle of a building. During the construction, renovations or re-purposing and even during the demolition of a building, not only water and energy is consumed, but also toxic emissions might be released into the atmosphere. The first UK life cycle rating system for sustainable building design was BREEAM developed and certified by Building Research Establishment (BRE). Currently it is adopted also in EU countries. Worldwide they are different similar rating systems. The most well-known is Leadership in Energy and Environmental Design - LEED in the United States, certified by the United States Green Building Council (USGBC). But there are some other like Green Globes Certification in the United States and Canada, CASBEE in Japan. This whole building qualitative assessment schemes might differ considerably from one another, especially on the measurement scales, on the performance-based requirements and on the identified criteria [78][44]. For example, BREEAM includes as criteria for assessments energy, transport, pollution, materials, water, land use and ecology, health and well-being. Whereas LEED uses criteria like sustainable sites, water efficiency, energy, materials and resources, indoor environmental quality, and process and design innovation [44]. At times it can be challenging and time consuming to decide which standards, certifications or rating programs are most credible and applicable for a building construction project.

Studies of LEED certified buildings revealed that energy, carbon, water, and waste can be reduced, resulting in savings of 30 to 97% respectively. Operating costs of life cycle buildings can also be reduced by 8â€“9%. Many sustainable buildings have also seen increases of up to 6.6% on return on investment, 3.5% increases in occupancy, and rent increases of 3%. Other benefits of life cycle buildings include healthier indoor environment and increases in natural daylighting. [78] In conclusion the effort for earning a certification for a construction, even the certification is a voluntary one like BREEAM or LEED, it is an effort that translates also into a valuable marketing tool [44].

#### 2.3.4  Energy Performance Certification Systems

A special kind of certifications are those that focus on the energy performance of buildings. The European Directive on Building Energy[72] states that Member States should apply national energy efficiency schemes for the providers of energy services, energy audits and for other energy saving measures [71]. There is some effort towards energy standards, where enterprises can certificate themselves in one of the available certifications:

• EN ISO 14000 - Energy Management Systems

• EN 16247-1 - Energy Audits

• EN ISO 14000 - Environmental Management Systems

According to the European Directive, Member States need to require that, when buildings or building units are constructed, sold or rented out, the energy performance certificate is shown to the eventual new tenant or buyer and finally attached to the selling or renting contract[70].

To help the Member States of the European Union to reach the goals for energy efficiency, the International Energy Agency (IEA), where Austria is also a member of, developed a set of energy efficiency policy recommendations. For the buildings sector, the IEA set up also some guidelines for certification schemes of buildings. The IEA identified supporting mechanisms for robust, accurate and cost-effective certification schemes [44], with the goal to improve the quality and reliability of building retrofit services ([45] and [26]). This mechanism are:

• validated assessment procedures, proper monitoring systems for compliance, quality assurance procedures (e.g. energy audits) which increase the value of efficient buildings and can stimulate the real-estate market

• technology and administrative systems to coordination and maintenance

• training of the assessors towards a qualified workforce

The IEA recommends the following plan for developing and implementing energy certification schemes [44]:

• Plan

- define the terms of reference of the certification scheme

- develop an appropriate policy framework, deciding if the certification scheme should be voluntary or mandatory one.

- develop an action plan

- enrol different actors including the stakeholders

- be realistic by setting a proper time frame and by allocating sufficient resources (technological and administrative, institutional, financial and human) in order to avoid delays

• Implement

- provide trainings to assure well-qualifies building assessors

- raise awareness of the planed scheme in industry and among the public

- ensure proper management of building data (collection, review, publishing)

- evaluate adaptability for possible future changes

• Monitor

- monitor the performance of the certification scheme

- monitor the performance of the assessors

- publish results to the stakeholders

• Evaluate

- assess if the goals were met. Some international assessment schemes are LEED (USA), BREEAM (UK), SIMAPRO (NL)

- adjust schemes if needed

- expand the scheme to support other policy measures

According to IEA, certifications should be applied at the design stage (to influence construction) and at completion (to increase compliance and to record the actual performance). Some countries (such as Sweden) require re-assessments of actual consumption after two years.[44]

The person or company that emits energy performance certificates has to assure that the certificates are accurate, reliable and compliant with the national energy performance calculation methods, otherwise penalties may be applied. Each member state has it’s own methodology for the qualification and accreditation of certifiers. An analysis of the requirements for certifiers qualification in different countries is presented in one of the BPIE reports[27].

#### 2.3.5  Country Particularities on Building Certifications

Certification schemes are implemented differently in each EU country, as directed by the European Union. This is due e.g. to cultural differences or geographic location.

The European Member countries were analysed under the aspect of the certification schemes they use, in particular the compliance with the EU Directives and the performance of implementing these regulations. Among the resulting reports we mention [10], [3] and [25]. The identified differences include:

• The issuing authority differs greatly from country to country.

• The way of implementing the guidelines differ greatly from country to country.

To display the differences we enumerate a few European countries.

The Austrian Institute of Construction Engineering (OIB) designs standards and other technical regulations by harmonising the nine "building codes" (of each Austrian Federal State) and other laws. The institute also offers guidelines for implementing these standards. In Austria the energy performance certificates called Energieausweis are used since 2008. According to [10] the Austrian certificates are complicated to understand and still not detailed enough to offer transparency. Recommendations to improve energy efficiency are not always given and are not always clear. The certifications may be issued by authorised experts of different fields (e.g. construction, engineering or energy), but it is not required by law that the experts attend special trainings with focus on energy inspections. In Austria, the PassivHaus buildings are graded with the A++ label, where as the low-energy buildings with A+ (see figure 6)[50].

Figure  6: Energy Certificate Grading Scale

In order to align to the European Directives, starting with 2020 no A+ or A++ labels are allowed in Austria[1] any more, only A to G will be granted. An example of an Austrian Energieausweis is listed in Appendix 7.

In Romania, as in other EU countries as well, the availability of a certification is mandatory when a dwelling is sold or rented. Valid labels are from A to G. The requirements for a professional in order to be certified for awarding energy certificates are different to other countries and this requirements are: a relevant university degree, 10+ years of working experience in construction or a related field and a previously successfully graduation of a special training on energy audits.[15] An example of a Romanian Certificat energetic is listed in Appendix 8.

In the United States the (mainly) voluntary Home Energy Rating System (HERS) index is in use. It is a comparative label offering information on the certified buildingâ€™s ranking compared with similar buildings. Buildings are rated based on their actual energy performance and the ranking score is calculated according to the RESNET certification systems.[44] The IECC (the International Energy Conservation Code) regulates the design and construction of energy efficient buildings.[48] This Code is the basis of the HERS scale. Buildings conforming to the current IECC regulations are rated 100 on the scale, while 0 represents the energy performance of a zero-energy building. Most building in the US are rated with a score of 100 and above.[44] The US building stock needs improvements, similar to the EU building stock.

Figure  7: HERS index in the US. Source: iea.org

In Denmark, energy-labelling of buildings is mandatory. Denmarkâ€™s Energy Performance Certificate is overseen by the Danish Energy Agency and the Danish Enterprise and Construction Authority. [?] The certificate must be provided during both purchase/sell and rent transactions. Buildings are rated from A to G, where A is divided into A2020, A2015 and A2010. A2020 covers low energy buildings, while G-labelled buildings consume the most energy.[2] An energy consultant inspects the building and according to the undertaken calculations, the building is rated. This labelling scheme is a theoretical one, the rated energy consumption with calculated one and is not a measured net energy rating. A particularity of the Danish system is, that the certification includes recommendations for energy improvements for the rated building. These recommendations do not replace an in-depth energy consultation, but it offers first indications for next energy efficiency actions. The Annex 3 shows an example of a Danish EPC. The Danish EPC Database is publicly available  and serves as an example for other countries. [52] The Danish Energy Certification Scheme was a model for other countries.[44]

In Germany, as in other EU countries, an energy certificate is mandatory when renting or selling a dwelling. Similar to Denmark’s approach, a German Energieausweis offers recommendations on how to improve the energy efficiency of a building. The German design for an energy certificate is a result of a large field testing of user comprehension regarding the issued certificates. An Energieausweis may take 2 forms, similar to the UK certificates, depending on the scope of use: Bedarfsausweis (Building Energy Rating certificate) or Verbrauchsausweis (Display Energy Certificate). The energy classes, for both forms, are from A+ to H. In a Bedarfsausweis the calculated (the theoretical) energy consumption is displayed, whereas in the Verbrauchsausweis the real energy consumption used for heating is measured over 36 months and summarized per year. This results in a specific energy class which is the displayed on the certificate. Both certificate types include on their last page, recommendations for energy efficiency measure. This recommendations are presented in a user friendly way, e.g. "The replacement of the windows with new one of U-Value 1,2 and g-value 0,6; amortized in 9 years of usage." An example of the German energy certificate is presented in Annex 5.[16]

### 2.4  The Energy Performance Gap

The role of an Energy Performance Certificate (EPC) is to inform about the energy performance and the energy costs of buildings [74]. The current situation regarding Energy Performance Certificates is not yet ideal, because in most of the cases these certificates do not reflect reality. There is a gap between the predicted energy consumption, which is graded with an EPC rating, and the real, measured, energy consumption of the building or dwelling.

The term “performance gap” refers to the difference between the predicted and the measured energy performance.[18] A “positive gap” is when a building receives a lower EPC rating, but actually performs better. A “negative gap” is when a building receives a higher EPC rating, but actually performs worse. Good energy performance means to achieve low electricity and fuel use, while keeping occupants comfortable.

The existence of a performance gap is a problem, because the rating influences the selling/renting potential of a building or dwelling and misleads in terms of operational costs of a building/dwelling. In [46] it is demonstrated that the same building is rated differently by individual experts. Experts have different views on which measurements of a building are relevant and are ought to be included into the energy modelling and which are not relevant [74],[46]. In a simulation tool, a modeller has to decide which building parameters are to be included and which not for the calculation of the energy prediction. Since the views on the importance of some parameters differ, or in some cases there is not enough data for some parameters in order to be used, it might result in a wrong energy consumption prediction. Such predictions are mandatory to be able to comply with the national building codes, but the predictions are not accurate, because there is a clear gap between the simulated energy consumption and the real energy consumption.

Other reasons for the gap, which we also saw in previous chapters, are the uncertainties like the behaviour of the occupants or the weather data. Even if the experts would agree on the inclusion of the same parameters in their predictions, the uncertainties may lead to inaccurate predictions.

A further reason for the gap is not respecting the design features in the construction and in the operation phase of a building. During construction the materials that were considered in the design phase might be substituted by other materials, due to various reasons. And during the operation phase, the users of a building or dwelling might behave totally differently than the designers predicted, in case they predicted user behaviour at all. The research conducted in [37] found that an average deviation of 30% occurs between the estimated and real consumption. A similar study [77], where different kind of buildings (schools, libraries, hotels, offices) were analysed, showed that the buildings performed in average 3.8 times higher than the design estimate. The latter study took a look also at the Building Emissions Rate (BER). BER gives the estimated rate of CO2 emissions per m2 floor are for emissions from regulated energy use (heating/cooling, ventilation and lighting). [77] [75]

A further problem is that the Building Emission Rate and the Energy Performance Certificate do not capture all energy used in a building. A Display Energy Certificate (DEC) has an A to G rating, which is calculated based on the first 12 months of metered energy use. The DEC takes into account all energy use [75]. The usage of more than one low-energy system, which is encouraged by e.g. BREEAM, causes quite some problems, because the systems tend to get in each other way and the overall performance of the building is worsened [75] [75]. According to[77] the predictions are overoptimistic, since it is expected that the installed systems work perfectly, but in reality some systems (especially the renewable energy systems) need a better handover to the users and are also more difficult to maintain than traditional systems. Typically, energy modelling happens in the design phase only to achieve compliance with building regulations. [75] and [42] suggest that a building design should have in focus the “performance in use”, so a DEC instead of a EPC. A further suggestion is to use benchmarks for the type of building, since benchmark-based predictions are within 15% accurate [75]. The automated reading of meters and the building monitoring offer data on the actual performance of buildings, but there still lacks data on the root causes of the energy performance gap.[18] The Measurements can lack on accuracy, or completeness of information. [17]

As presented in the previous paragraphs, the causes for an energy performance gap are diverse. Summing up, the causes for the energy performance gap are [46], [77], [37], [42], [17]:

• the difficulties during concept and planning (lack of consistency in defining targets and how this targets can be met and assessed)

• the building energy modelling difficulties during design (the difference in the literacy of energy professionals, the usage of different calculation methods and simulation tools, the shortcomings of the simulation tools), also the inaccurate predictions of energy use at the design stage provided by simulation tools

• the specification changes before and during construction with no re-evaluation of the energy performance, overestimated quality of materials which are tested and labelled only under test conditions, variation in material properties and dimensions

• the errors during construction/workmanship/installation

• the overly complex control systems and the usage of different low-energy systems aiming at the same type of energy saving, also the degradation of the performance of these systems in time

• the rushed or incomplete commissioning

• the unanticipated occupant behaviour, the facility management

• the weather conditions

Pieter de Wilde identified in his research different types of performance gaps. These vary over time and context. The 4 identified types of performance gaps are [17], [19]:

• Type 1 gap: describes the gap between the energy models at design stage and the measurements on the final building.

• Type 2 gap: is the gap between machine learning methods and measurements from real buildings

• Type 3 gap: the gap between the energy ratings provided by compliance test methods and display certificates from the legislation

• Type 4 gap: is the gap between normative methods used for compliance (e.g. SAP calculations) and the measurements on the actual building. For example the SAP methods do not calculate the energy related to "unregulated loads" (meaning not regulated by Building Regulations) such as electric and gas appliances. The simulation tools tend to underestimate the electrical loads for appliances, because their usage is not know at the design stage.

Some suggestions on eliminating the performance gap, are mentioned by Pieter de Wilde in his papers [19], where “the performance gap can only be bridged by a broad, coordinated approach that combines model validation and verification, improved data collection for predictions, better forecasting and change of industry practice”. According to [46], in order to close the gap, it is important on one hand to teach building physics to the energy modellers and on the other hand to receive feedback after a building is commissioned so that lessons can be learned and the prediction mechanism can be improved. The introduction of more strict regulations might contribute to the reduction of the performance gap.

For the government the performance gap means, that the near-zero energy homes do not contribute as expected to the national energy reduction plan. For the occupants it means that energy bills might be higher than expected and as result the confidence in near-zero homes (including certificates) have to suffer. [42] An effort by the EU to lower the energy performance gap and to monitor and assess actual building performance is the Horizon 2020 project, which supports the development of future methodologies and improved tools.

Some suggestions of innovative tools are listed in [12] and include improvements in 3D Imagery Tools, Building Information Modelling (BIM), Smart Building Components, Energy Efficiency Quality Checks, Indoor Air Quality and Airtightness Test Tools, Thermal Imaging Tools and Acoustic Tools.

## 3  Low-Energy Buildings

The term low-energy building is a more general approach, where as near zero energy buildings, the passive house standard and the life cycle assessments are more restrictive.

A nearly zero-energy building is defined in the European Directive [70] as "a building that has a very high energy performance [...], the nearly zero or very low amount of energy required should be covered to a very significant extent by energy from renewable sources, including energy from renewable sources produced on-site or nearby". The passive house standard focuses on the reduction of energy to bear minimum. It’s benchmark on energy savings are of a better performance than a typical low-energy building. The life cycle assessments on buildings focus not only on the energy performance but also on the environmental issues from construction until the demolition.

Smart buildings are not necessarily energy efficient, but are more technically equipped e.g. with smart meters. The used technologies inside a smart home are used to monitor and improve the building’s energy performance.

[inline]Alfonso: The question really is: Does automation improves energy efficiency? I think that the real answer is that ICT allows user to communicate on an understandable way with the building, and with this cut on energy waste.

This information is then used to automate various processes, from heating and ventilation to air conditioning and security.[8]

The investigated features of a low-energy building are:

• Heating and DWH.

• The electric energy consumption.

• Renewable energy gained from solar panels, photovoltaic solar panels or other sources.

Low-energy buildings do not imply that there is no need for energy in the process of heat and energy generation. For low carbon buildings this is of importance, because this kind of buildings incorporate renewable energy systems that save the same amount of carbon that is discharged due to the energy used. [63]

Low carbon building is one that uses significantly less energy and emits less carbon than current industry benchmarks while providing a comfortable and productive space. ow carbon buildings are not necessary more costly to build, but should definitely be more cheaper to operate. [75]

### 3.1  Requirements

In order to follow the European Directives on energy efficiency, each Member State is developing energy performance assessment and building certification schemes. Some of the features of this methods required by the EU are [20]:

• the developed tools should be more reliable, user-friendly (in terms of clarity and accuracy), cost-effective and should reflect the smart-readiness of buildings

• the quality and reliability of Energy Performance Certificates across the EU should be comparable. The EU encourages the development for new certification schemes, that improve the effectiveness of certificates and which can be deployed throughout the Union.

• the energy performance methodology should be technology neutral

• international and European standards should be used

• the schemes should assess the buildings in a holistic way over the envelope performance, system performance and the smart readiness of buildings

With the Horizon 2020 EE5, Next-generation of Energy Performance Assessment and Certification, the European Union drives the research towards more efficient methods for developing energy performance certificates. The next-generation energy performance assessment schemes “will value buildings in a holistic and cost-effective manner across several complimentary dimensions: envelope performances, system performances and smart readiness”.[21]

The next-generation energy performance assessment schemes should:

• be based on an agreed list of parameters/indicators

• take into account building energy related data from sensors, smart meters, connected device

• contribute to the improving the effectiveness of certificates

[inline]TODO: Place the below bullet points at the right place

* Goal: Assuring that labels and certificates can be derived from data and present the building state and change possibilities well to the user. The labels can be designed with ontologies in the background to bridge data and the users.

* Requirements: If the labelling method is too complex then it will not be used and a random label will be placed. If the method is too simple, then it might not be accurate enough.

* There is no correlation btw. label and energy efficiency, the methods are not good enough and is subject to interpretations by users.

* Certification costs can go up to 10.000 US Dollars (see EDGE-App)

### 3.2  Challenges

Reducing energy consumption is a noble goal, but there are a number of issues that the low-energy buildings have to find a proper solution for.

The air quality inside buildings is an important aspect that need not to be overlooked. Poor indoor quality is responsible for many diseases among them asthma. Air quality could be fixed by smarter design and energy efficiency measures which in turn yields energy savings and reduces climate the impact. [59] Artificial air flow is introduced in many buildings, also the PassivHaus standard includes such solutions.

The term energy efficiency sounds appealing, but it is not evident what the exact measures are to achieve lower energy consumption. This gap is partly filled by e.g. the recommendation messages on energy consumption bills. But more concrete measures are needed in order to achieve the goals of the European Union.

## 4  Hypothesis

• Data-feedback classification of buildings is better than manual certification.

• Uplifting a building results to a higher classification level

• This proposed methods are more accurate than the existing certifications methods.

# 2  Related Work

## 1  Frameworks

### 1.1  IoT - Smart Homes

The Internet of Things (IoT) jumps on board on the challenge to lower the impact of humanity on the environment. One of the techniques that is already in use is home automation. The smart meters which are installed in buildings, together with sensors and actuators, keep track and even optimise the energy consumption of a dwelling. Smart Meters are technical devices that measure automatically the energy consumption of a building unit. In the European Directive for Energy Buildings [71] at least 80% of energy consumers should be equipped with Smart Meters systems by 2020.

The goal of the usage of smart meters is the ability to offer accurate and frequent billing details.

Artificial Intelligence and Machine Learning technologies might enhance Smart Meters in the future so that the Smart Meters can manage and improve the energy consumption levels of a dwelling autonomously. [53]

By interconnecting homes, offices, data centers, warehouses and the public infrastructure, Smart Cities are born. European cities are actively working on ideas and prototypes in order to accomplish the vision of Smart Cities. An example is the city of Innsbruck, where “the vision of a holistic energy identity in 2050 is only possible by an overall consideration of the city as a system in which energy, buildings, supply networks, mobility, information and people are viewed in an integrated manner.” [13]

#### 1.1.1  Integration Framework for Smart Homes

Smart Homes are technically equipped dwellings that are able to monitor and improve their energy consumption.

The SESAME Project offers a plug-and-play solution for integrating building automation systems with the advanced metering systems of a building in order to facilitate an energy-aware home automation system[29]. The project uses Semantic Rules to describe how appliances within the environment will be operated. This rules enable reasoning on the measured data.

For the SESAME Project three ontologies were developed[73]:

• Automation Ontology: includes general concepts such as Resident and Location, but also concepts in the automation and in the energy domain, such as Device (with consumption per hour, peek power, on/off status), and Configuration (configuration data of an appliance).

• Meter Data Ontology enables communication protocols for data exchange with the metering equipment

• Pricing Ontology used for selecting the optimal tariff model for a specified time and energy load. [inline]ALfonso: explain Picing Ontology a bit

### 1.2  Energy Consumption Awareness Framework

The Entropy Project aims to sensitize tenants for the consumed energy of their dwellings. This dwellings are equipped with special sensors that collect energy consumption data. The tenants are kept informed by a specially developed application about their energy consumption. The Entropy Project focused mainly on the behaviour of the tenants and suggests via their services lifestyle changes in order to reduce the energy consumption, but in a user-friendly manner.

As described in the article [31] the Entropy services are collecting and processing data from sensor nodes in real-time and managing historical sensor data. The Entropy Project uses Semantic Web technologies like semantic models and ontologies for a unified data representation of the previously collected sensor data. The two developed semantic models were on one hand, the Energy Efficiency Semantic Model, represents the energy consumption data collected from the sensors and on the other hand, the Behavioural Semantic Model has it’s focus on the energy consumption profile of end-users. This models facilitate the further management and exploitation of the collected sensor data. With the help of LinDa workbenches the semantically annotated data from the semantic models are transformed into linked data. This approach is of use to the building sector because comparisons between the collected data and also the exchange with other open linked data like meteorological data is needed. The data is stored in JSON-LD data format, which is a lightweight linked data format. The recommender system behind Entropy is based on the Drools framework, which is a rule-based management system. In the Entropy Project a rule is expressed by a condition element and a recommendation template. For example if a context changes the recommender system creates a personalised recommendations for each user in the targeted user group by using the recommendation template. The targeted user group, are users that satisfy a specific user attributes defined in the template. Through the Entropy project an application was developed, which joins energy and behavioural data and in consequence leads to the improvement of energy efficiency in smart buildings.[31] The Entropy’s recommender system, uses machine learning techniques, provides the user with personalised suggestions taking into account the user attributes and behavioural traits.[32]

### 1.3  Energy Consumption Prediction Framework

"Building thermodynamics is a complex non-linear phenomenon, which is strongly influenced by weather conditions, building operating modes, and occupant schedules." [34]

In the work of [34] some predictive data-driven models were developed with the help of machine learning techniques, techniques which learn by themselves with little human guidance. The machine learning algorithms are trained with a set of data and run on a different set, so it applies what it learned during the training period.

Predictive data-modelling uses machine learning techniques because the processed datasets are too large for classical methods (e.g. Regression Models based on the physics of the building).[34] [inline] Recheck the above, since it was not understood right

The developed predictive models were of two categories, on one side the black-box, in contrast to white-box model  models (e.g. SVR, Regression Forest) and on the other side, the grey-box models (e.g. Gaussian). The mentioned research proved that the predictions generates by the black-box models which were applied on temperature values were outperforming the grey-box models which were applied on energy consumption values, because the first ones were capturing human behaviour. The human behaviour has a greater impact on the energy consumption that the envelope of the building. According to the researchers, among the black-box methods, the Random Forest had the best prediction results.[34] The black-box model needs a baseline measurement first.

## 2  Tools

### 2.1  Building Energy Simulation Software

“The approach of building simulation is to create a virtual building where the user can specify in detail parameters that influence the building performance, with resulting performance predictions that are as close to reality as possible.”[28]

Most of the energy simulation software, among which the best known are EnergyPlus and TRNSYS, are white-box simulation programs. They simulate a building based on the explicitly introduced building details and calculates with the use of complex mathematical formulas the energy consumption of the building. [34]

EnergyPlus is a mature and elaborate simulation software for buildings. It is targeted at expert users, engineers, architects and researchers. EnergyPlus was used for evaluation of results e.g. in the paper [62] and many more. With the help of EnergyPlus, which is a free, open-source, cross-platform software expert users can model the energy and water consumption, the lights, the air quality, the DWH and much more. The most important feature of EnergyPlus is that it is very easy to use in a machine to machine communication. The building data is fed to the program with the help of input files, and the result of the calculations of the program is produced in output files.

The Transient System Simulation Tool (TRNSYS) is a wildly used simulation environment, developed mainly for thermal and electrical control systems, but it can also be used for other transient systems. In contract to EnergyPlus, TRNSYS is a commercial tool. TRNSYS is a versatile component based software system, where component models may be selected from the build-in libraries, or written by the user and linked to the main TRNSYS simulation model. TRNSYS also supports machine to machine communication, since it also has the ability to connect to the interface of other systems or simulation tools. [68]

The most important capabilities of a simulation tool are [46]

• usability

• computing ability

• data-exchange

• database support

This kind of systems require detailed information of the simulated building, information that is not always available.[34] This lack of complete information is one of the causes of performance gaps.

#### 2.1.1  Building Assessment Simulation Software

Building simulation tools model the important aspects of physical behaviour of buildings. A classification of building simulators can be found in [63]. The classification criteria are

• by how a model is created

• by the levels of dynamisms of the model

• by complexity e.g. calculation based methodologies like SAP, the PassivHause project or benchmark simulators like EnergyPlus

The weather but also the behaviour of occupants are of a great impact on the comfort level of a building and at the same time they are hard to predict. The designs that takes into account this uncertainties will be more reliable[63]. Uncertainties are categorised as [63]:

• Environmental: climate change

• Quality of building materials and the quality of finishes

• Occupancy Dynamics: cooking habits, door and windows openings by occupants, the use of appliances

The specificity of the information provided is important in determining whether the building owners implement the advice. The more specific the recommendation, the larger the impact â€“ but the costs of the advice may be higher. If, for example, the recommendations are automatically generated by the assessment software, costs are reduced, but such recommendations would be less specific and accurate for the building, which weakens the impact of the advice. More specific advice provided by a building professional is more expensive but is more likely to provide appropriate cost-optimal solutions and relevant details to motivate the building owner to undertake the upgrading measures. [44]

### 2.2  Building Certification Software

A building certification software calculates energy performance and ratings based on annual energy use, e.g. annual kilowatt hours used per square meter (kWh/m2/year) or related CO2 emissions, measured in kilograms of CO2 per square meter (kgCO2/m2/year).

Certification software ensures the quality of the certification as it facilitates standardised calculations. A comprehensive software system may also provide recommendations for upgrading the building to improve efficiency.[44]

As an example, the EDGE-App is a comparative software and a certification utility. This application is location and climate aware and it suggests possible certification companies, including their contact data, after the user entered the available building measurement values.

### 2.3  Building Management Systems

The information gathered from smart meters and also the information displayed on the energy bills might be to technical for normal users, this is why researchers are trying to find solutions for improved visualisation methods which are more appealing to the end user, with the end goal to motivate the user to save energy. The technical equipment is not aware of the interests or of the technical expertise of the user.

Researchers were investigating which kind of visualisation type, tenants are reacting at the most. As reported in [67], the behaviour of tenants was observed in form of a virtual game, where users could see the energy consumption of their virtual flats and define some rules (e.g. shut down the light after 22 o’clock). This rules were automatically applied to the virtual flat and their effectiveness on the energy consumption was inspected.

Among the researched visualisations for the consumed energy, some were:

• the amount of generated CO2

• the amount of trees needed to absorb the generated CO2 quantity

• the amount of money spent

• comparison to other users of the game

As a result, the most effective way to visualise consumption was by displaying the costs in Euro. A lower impact had the visual comparison to other users and also the visualisation of the number of trees that was needed to absorb the generated CO2 [67].

Another study conducted by the founders of an US company called OPower revealed that consumers in the US care a big deal about their consumption when compared to the energy consumed by their neighbours. Social pressure can be influential in the behaviour of tenants [54]. The company OPower, at the time of writing, was successful in aiding energy companies in providing their users with detailed bills and also with recommendations and motivational messages to stimulate their users in saving energy.

Personalised messages have a significant effect on energy related behaviour. This is the result of the research[55] conducted in the UK in social housings. According to the study consumers acted positively when provided with personal messages which contained their personal energy consumption details and also a concrete action plan for energy savings. An example of a personalized message used in the research was: "If you reduced the thermostat temperature in your house one degree you would save 11 kWh; this is equivalent to Â£1.43." This personalized action prompts were sent out only to the users that were consuming more than the average or more than a set threshold. This is because the opposite effect of encouraging users to consume more energy, in case they are below the average, was not desired.

### 2.4  Energy Efficiency Testing Framework

With the aim of increasing the quality and the accuracy of energy analysis tools, the National Renewable Energy Laboratory (NREL) in the US developed the Building Energy Simulation Test for Existing Homes (BESTEST-EX). It is a test method where energy performance software program is tested against itself for the performance in modelling and prediction of energy consumption.

BESTEST-EX offers two types of test cases: building physics and utility bill calibration test cases. In the building physics test cases the model inputs, which is the building data, is fixed by the test case. The resulting predictions for energy consumption is then compared to the NREL predictions.

The utility bill calibration test case uses empirical data from energy bills of buildings in the US. The software under test receives as input such data and then predicts energy savings. Again, the result is then compared to the NREL reference predictions. This reference predictions are calculated with state-of-the-art simulation tools like EnergyPlus.

The tests comprised in BESTEST-EX are included in the ANSI/ASHRAE Standard 140, Method of Test for the Evaluation of Building Energy Analysis Computer Programs [ASHRAE 2011]. BESTEST-EX can help in diagnosing why a energy performance software has errors, but it cannot evaluate true accuracy relative to how a real building performs as built and as occupied.

The data format which was especially developed for this kind of energy data is called Home Performance Extensible Markup Language (HPXML).[49] HPXML is an open data standard published by the Building Performance Institute (BPI) that makes it easier to collect and transfer home energy data among software tools.

HPXML is comprised of a standardized data dictionary and a standardized data transfer protocol [40]:

• The data dictionary defines the names, definitions, and data formats of terms used in the HPXML standard. It is used to describe a building and includes therms related to contractors, customers, program information, buildings and it’s components, building systems, energy efficiency features and systems, renewable energy features and systems, energy consumption and energy savings (estimated and actual).

• The data transfer protocol defines the rules for transferring data defined in the data dictionary between different software systems.

HPXML facilitates the communication and the exchange of information and data on residential buildings and energy performance. A HPXML validator can be found on the HPXML homepage.

In conclusion, BESTEST-EX is a repeatable procedure that tests how well the predictions of energy software tools perform in comparison to the current state of the art in building energy simulation. There is no truth standard, but the reference predictions have undergone validation testing.[64]

#### 2.4.1  Collaboration on Energy Performance

The European Commission funded the BUILD UP platform in order to promote and facilitate energy consumption saving measures in buildings. This platform offers information on best practices, available technologies and the current legislation for energy reduction. The BUILD UP platform is open for building professionals, local authorities and citizens, where they are encouraged to share their knowledge.

A complex collaboration research project funded by the International Energy Agency, the European Union and the European Interreg Alpine Space Project ATLAS namely, IEA-SHC Task 59, is focusing on exchanging knowledge about energy and CO2 saving methods specifically in historical buildings. The outcome of this project will be the Historic Building Atlas, a database for best practice examples for energy performance measures in historical buildings.

## 3  Building Information Modelling - BIM

Building Information Modelling (BIM) is a current trend in building modelling which consists of computational models in which large amounts of design data (including the thermal characteristics, the costs, the supplier and the weight of building materials) is stored. [63] BIM models allows architects, engineers, constructors and other partners involved in a building project to visualise the building to be built in a simulated environment in all details. As a consequence, potential design, construction and operational mismatches can be detected.[6]

Because of the big amount of data that is used in BIM approaches, some optimisations methods were needed. Some successful algorithms are researched in [63] and among them evolutionary algorithms (EA) which mimic the basic operators of natural evolution (recombination, mutation, evaluation, selection) and Robust optimisation methods which do not loose, or loose very little, of its optimality if the decision variables or conditions change.

Building information models (BIMs) are files (often in proprietary formats and containing proprietary data) which can be extracted, exchanged or networked to support decision-making for buildings[81]. But BIM are not just files, BIM is a way of optimising planning, design, construction and the operation of buildings[51]. BIM is an intelligent 3D-model based process[5].

A building information model characterizes the geometry, spatial relationships, geographic information, quantities and properties of building elements, cost estimates, material inventories, and project schedule. The building information model can be used to visualise the entire building life cycle[6].

Furthermore, BIM is an opportunity for integrating data streams and building services with other relevant data.

A suite of commercial tools are supporting BIM, like the Autodesk’s software tools: Revit for complete model-based building designs and documentation, Civil3D for improving building design and construction documentation, Navisworks for improving BIM coordination , Infraworks focusing on infrastructure design.

BIM is mainly used for new buildings. For already existing buildings, the conversion of available documentation (digitalised or not) into BIM models can be challenging.[79]

In conclusion, BIM is not just files or just a software, BIm are not just 3D models, BIM is a digital optimisation process, where the goal is to improve the workflow of a building life-cycle. BIM simulates the construction project in a virtual environment and is an effort towards a so called Digital Twin.

### 3.1  Standards and Datamodels

An effort for the standardisation of BIM is conducted by Austrian Standards, the Austrian competence centre for standards. The current standards for Building Information Modelling are [38]

• ÖNORM A 6240-1 defines commands for storing grouped information. This aspect is used in an innovative way by the standard by defining how to file graphic data in a structured way and how to exchange intelligent building data and information.

• ÖNORM A 6241-1 applies to the technical implementation of data exchange and the storage of building information, including alphanumeric data contained in building models that are required during planning and the life-cycle management of buildings.

• ÖNORM A 6241-2 regards the technical implementation of a multidimensional, structured standard data model for buildings. This standard lays the foundation for the comprehensive, standardized, product-neutral, systematized exchange of graphic data and related object data based on IFC (Industry Foundation Classes) and bSDD (buildingSmartDataDictionary), which are detailed further in this chapter.

Industry Foundation Classes (IFC) is an open international standard for the exchange of building information. IFC was developed by BuildingSmart, a non-profit industry-led organization.

The Building Information Modeling (BIM) is based on the IFC standard, which defines an exchange format for building information (like GIS data, environmental data, <TODO write some more>....) and information related to the surroundings of a building[43]. IFC is vendor neutral, but it is supported by different tools for BIM. The format of IFC is XML.

Data exchange can take place if following is known[43]: 1) the format for information exchange is known 2) a specification of which information to exchange (e.g. as defined in IDM - Information Delivery Manual)and when to exchange it 3) a standardized understanding of what the information represents (International Framework for Dictionaries - IFD)

IFD is an open dictionary of concepts and terms, where each item is given an unique identification number (Globally unique ID - GUID) and each term has associated with it a set of names and definitions in other languages, which allows international communication. [43]. The buildingSMART Data Dictionaries, are open, shared, language independent libraries, which standardizes all types entities, properties and classifications.

Furthermore, Open BIM is an effort to improve the interoperability of different tools. Open BIM is an implementation of the reference model on an open standardizes platform. Open BIM represents more a movement than a technology.

#### 3.1.1  Semantic models

Industry Foundation Classes (IFC) entities are a product model schema containing a load of information regarding geometry, materials, performance etc. A model view represents a layer on top of the later schema, and it offers the possibility for effective data exchange by providing means for data selection. [9]

There are some gaps in the interoperability of BIM tools. One of them is, that the IFC schema is too generic and some concrete meaning of the exchanged information may be lost. One of the efforts to improve the IFC models with semantic meaning is SeeBIM.

SeeBIM (Semantic Enrichment Engine for Building Information Modeling) is a framework for enriching IFC exchange files with semantic concepts, which are inferred by semantic rule-engines from the information contained in the building model (BIM). The latter process is called semantic enrichment. The semantics of a building object are composed of its form, function and behaviour. [9]

The inference rules encapsulate the knowledge of domain experts. The rules are defined as IF-THEN rules using a predefined set of object types and operators, expressed in a format easily comprehensible to domain experts. The operators include functions for reading the existing building model, testing for geometrical and topological relationships, and for creating new objects, properties and relationships.[9]

The rules use two types of IF clauses: clauses that test for features of a single object, and clauses that test for topological relationships between pairs of objects. Rules used to identify object types often depend on the prior identification of other relevant, related objects. If the rule set is inadequate, some objects cannot be identified and enrichment will be partial, and in some cases interdependency within the rules can result in infinite loops.[66]

The rich data sets can be analysed, explored, and processed by a formal query language e.g Spatial SQL or GeoSPARQL handles spatial data. But these languages were not suited for the 3D representations used in civil engineering, specifically for the qualitative spatial predicates. Therefore, QL4BIM (Query Language for 4D Building Information Models) was developed as a BIM query language.[66] QL4BIM includes new domain-specific operators for the examination of topological, directional and temporal aspects.

The semantic enrichment engine (SEE) utilizes forward chaining to infer new facts about a model. It consists of the following components[9]:

• A parser, which reads IFC model instance files exported from BIM tools.

• An internal run-time database, that stores parsed objects, relationships and their attribute values.

• The inference rules are compiled by domain expert users and stored in persistent file storage. The rule-sets are described using a three-tiered structure: Tier 1, consists of the rule statements. Their lexical components are logical and relational operators, Boolean constants, universal operators (defined in Tier 2), domain specific concepts and relationships and product model schema entities. Tier 2, is a library of concepts, properties, and relationships, as well as the geometry, data query and spatial topology operators that are used for compiling rules in Tier 1. Tier 3, represents the implementation in computer code of the tier 2 operators.

• An IFC writer, generates IFC files from the semantically enriched models in the database.

• A custom-built run-time rule-processing engine, executes the user-defined rules and adds new facts about a model to the internal database of SEE. The rule processor uses forward chaining, so that derivation of any new fact about a model can trigger further new inferences. Processing continues until no further facts can be inferred.

Figure  8: Semantic Enrichment Engine (SEE) architecture

The import tool should be tailored to the specific MVD, since the import tool should be the tool taht adds semantics to the building model data.[66]

#### 3.1.2  BIM Platforms

There are some efforts in improving the collaboration for BIM models.

One of them is the open-source platform BIMserver.org. BIMserver.org is on one hand a platform (a base) on top of which developers can build their own online BIM Tools. On the other hand, BIMserver.org and more precisely the apps build on top BIMserver.org, offer a user interface for end users to upload, visualise, query, validate their BIM models.

A further BIM platform is A360, a commercial tool offered by Autodesk. This platform offers a medium for collaboration between the different Autodesk programs, by offering the possibility to share, view, browse BIM files. Autodesk offers also a cloud based platform for third-parties, called Forge. Forge is a platform of web service APIs, it allows the integration of different Autodesk products into third-party web or mobile applications or services. As a drawback for the wide building construction community, is the fact that this tools use proprietary data formats so this approach lacks on accessibility and transparency.[61]

A few other commercial platforms are BIMcloud, BIMcollab, bim+.

In conclusion, Building Information Modelling offers support on achieving proper design continuity, helping to monitor and control design, quality, performance and compliance. BIM provides a collaborative exchange of information from concept through design, construction, handover and operation. [41]

# 3  Requirements and Methods

### 0.1  Recommender Systems

what it is. Related work: Entropy (recommender system for energy savings)

### 0.2  Use Cases

Statement 1. ’Your house consumes 70Recommendation: ’If you install one meter of solar panel, your house’s cosumption decreases to 50

[inline]TODO: example service for users who consume too much

The return of investment is mostly left to be decided by the user, since they renovate or even sell their house anyway at some point. We can offer 1,2 informative prices in AT.

### 0.3  Methods

#### 0.3.1  Theoretical Background

* black-boy, grey-box

* in the paper "<towards energy efficiency smart building models based on intelligent data analytics" [33]a list of statistical methods used already in solar energy are listed!

* for EAs (evolutionary algorithms see [62])

When designing a mathematical model for buildings, creators how to make a compromise to gather in their model only the most important characteristics in order to be able to model the building as accurate as possible and to be able to run calculations that require a reasonable amount of computational time.[63]

### 0.4  Reasoning

How to turn a building in a passive house Represent building data in a semantic form.

### 0.5  Datasets

• UK Dataset CarbonTrust is a dataset that comprises data measured from condensing boilers between 2004 and 2007 in households in UK. The goal of the creation of this dataset was to assess the carbon performance and to improve future policy decisions. It was an effort to move towards a low-carbon economy, among which to develop and improve low carbon technologies e.g. Micro-CHP technology. The performance data was collected every 5 minutes for one year per heating unit, which resulted in ca. 190 million datasets. The parameters that were measured were:

- the core electrical and thermal parameters

- calibration managements

- temperature measurements

- operational measurements

Based on this data the maintainers of the dataset created daily and annual statistics to gather insights on the energy consumption of the monitored households. Data auditing is an important part of such measurements because it ensures the integrity and accuracy of the data.

* UK datasets: CarbonTrust

* EEFIG energy efficiency investment database

* UK building stock observatory

* Product Characteristics Database, www.ncm-pcdb.org.uk/sap/index.jsp -> BIM; Building Energy Performance Assessment Support website

* UIK civil engineering datasets (AT Data)

* Odyssee-Mure database

* Eurostat

* https://passivehouse-database.org/

EU Building Stock Observatory (ec.europe.eu/energy), a comprehensive database of the building stock characteristics in the European Union. The building data is managed by BPIE since 2010. In 2016 the available data was merged with the data of the European Energy Efficiency building database (ExcEED). The later aims at providing reliable information to designer, energy managers and policy makers. BPIE is involved also in the EUCalc Project which aims for a low-carbon Europe. The EU Building Stock Observatory tracks many different aspects including (https://ec.europa.eu/energy/en/topics/energy-efficiency/energy-performance-of-buildings/eubuildings):

• energy efficiency levels in buildings in individual EU countries and the EU as a whole

• different certification schemes and how they are implemented

• financing available for renovating buildings

• energy poverty levels across the EU

The Observatory contains a

• a database

• a datamapper

• a factsheet

It provides useful data for decision makers in policy. It aims at supporting the implementation of policies and programmes and better compliance and enforcement.

[inline]Some other Tools and Platforms

• ZEBRA2020 DataTool: renovation, energy efficiency trends

• CommONEnergyEconomic Assessment Tool

• ComONEnergy Data Mapper & Scenario Tool

• ENTRANZE DataTool: energy systems, building characteristics thermal quality, ownership

• Building Rating; FRONT consumer tools: decision making tool

• TABULA Web Tools; ENERGYFUND tool

• EUROSTAT

• GBPN Policy Comparative Tool

• IEA Policies and Measures; BEEP Database;

• ODYSEE-MURE Database; REEGLE Database

[inline]TODO: play around with some datasets, try out different methods

[inline]TODO: attention to measuring unit differences

#### 0.5.1  Preparation of data

From the paper "towards energy efficiency smart building models based on intelligent data analytics". [33]

1. Cleaning and transformation:

• selecting predictive variables

• deleting energy consumption outliers that cannot be related to outliers in the rest of the variables

• transforming categorical into numerical variables

• dividing the set of data into train (75%) and test (25%)

2. Standarization: transform the variables to have zero mean and unit standard deviation.

3. A common technique applied to data is the transformation of the data space using the so called Principal Components Analysis (PCA)15. PCA is a widely used technique for reducing dimensionality, identifying the directions in which the variance of the observations is accumulated.

4. Validation method: 10-fold cross validation and 5 repetitions over the training data set.

# 4  Implementation

Python and semantic technologies

Combining the data analytics/machine learning with semantics

e.g. making the data sets and usage explainable to the users -> Explainable AI

## 1  some sections

# 5  Results

The results show that this method is more accurate than the certification mechanisms done until now.

# 6  Conclusion

## 1  Conclusion

By using the near-zero energy building concept and implementing renewable energy in buildings we are able to better understand the behaviour of buildings.

This thesis aimed at finding a solution for reducing the demand for primary energy (heating, domestic hot water and electric energy consumption) by analysing possible renewable sources (e.g. solar systems). This work resulted in the creation of an application (recommender system/decision making system). Models for data-driven energy classification of buildings were presented. This models might fit or not to the classification given by manual assessments. We believe that data-driven classification is an accurate and non-subjective classification in comparison with the manual (human-driven) classification.

IHDs (Inteligent Home Displays) are not smart enough to address building context or personal motivations.[55]

According to [45] governments should:

• Require all new buildings, as well as buildings undergoing renovation, to meet energy codes and minimum energy performance standards.

• Support and encourage the construction of buildings with net-zero energy consumption.

• Implement policies to improve the energy efficiency of existing buildings.

• Require building energy performance labels or certificates that provide information to owners, buyers and renters.

In order to avoid fuel poverty, the comfort of the users should not be compromised in the desire of lowering the carbon footprint of buildings[34].

## 2  Future Work

Energy efficiency should be applied on the whole energy production and consumption chain, not only on the energy consumption of buildings. The EU Project "Heat Roadmap Europe" estimates that there is heat wasted during electricity generation in Europe, that is required to head all buildings on our continent.

[inline]add some ideas for future work, after finalising the implementation

Appendix

# 7  Austrian Energy Certificate

Source: personal archive

<see pdf version>

# 8  Romanian Energy Certificate

Source: personal archive

<see pdf version>

# 9  Danish Energy Certificate

Source: https://www.buildingrating.org/graphic/denmarks-building-energy-label

# 10  German Energy Certificate

Source: GermanEPC:2016

<see pdf version>

References

[1]  A. E. Agency.  Schluss mit A+++: Das bringt das neue Energielabel.  https://www.energyagency.at/aktuelles-presse/news/detail/artikel/schluss-mit-a-das-bringt-das-neue-energielabel.html, 2017.  accessed 06-07-2019.

[2]  D. E. Agency.  Energy labels for buildings.  https://ens.dk/en/our-responsibilities/energy-labels-buildings.  accessed 10-10-2019.

[3]  A. P. Andaloroa, R. Salomonea, G. Ioppolob, and L. Andaloroc.  Energy certification of buildings: A comparative analysis of progress towards implementation in european countries.   Energy Policy, 38(10):5840 – 5866, 2010.  The socio-economic transition towards a hydrogen economy - findings from European research, with regular papers.

[4]  S. Attia and S. Carlucci.  Impact of different thermal comfort models on zero energy residential buildings in hot climate.   Energy and Buildings, 102:117 – 128, 2015.

[5]  Autodesk.  Was ist BIM?  https://www.autodesk.de/solutions/bim/overview.  accessed 18-11-2019.

[6]  S. Azhar.  Building information modeling (bim): Trends, benefits, risks, and challenges for the aec industry.  https://ascelibrary.org/doi/full/10.1061/.  accessed 19-11-2019.

[7]  I. B. E. E. T. (BEET).  Building energy rating schemes, assessing issues and impacts.  http://www.buildingrating.org/sites/default/files/1402403078IPEEC_BuildingEnergyRatingSchemesFinal_February2014_pdf.pdf, 2014.  accessed 12-10-2019.

[8]  T. Bell.  What is a Smart Building?  https://www.trueoccupancy.com/blog/what-is-a-smart-building, 2019.  accessed 10-07-2019.

[9]  M. Belsky, R. Sacks, and I. Brilakis.  Semantic enrichment for building information modeling.   Computer-Aided Civil and Infrastructure Engineering, 31(4):261–274, 2016.

[10]  R. L. Bio Intelligence Service and IEEP.  Energy performance certificates in buildings and their impact on transaction prices and rents in selected eu countries, final report prepared for european commission (dg energy).   Final report prepared for European Commission (DG Energy), 2013.  https://ec.europa.eu/energy/sites/ener/files/documents/20130619-energy_performance_certificates_in_buildings.pdf, accessed 15-06-2019.

[11]  J. Bootland.  Passivhaus principles.  http://www.passivhaustrust.org.uk/UserFiles/File/Passivhauss.pdf, 2010.  accessed 09-07-2019.

[12]  D. Bortoluzzi, A. Costa, and S. Casciati.  Reducing energy performance gap in buildingsâ€”built2spec project solution.   Proceedings, 1:640, 10 2017.  accessed 13-08-2019.

[13]  City Of Innsbruck.  Active Innsbruck - City Projects.  https://en.wikipedia.org/w/index.php?title=LaTeX oldid=413720397, 2018.  accessed 25-05-2019.

[14]  A. Clarke and L. Reason.  Projecting Energy use and CO2 Emissions from Low Energy Buildings. A comparison of the PASSIVHAUS Planning Package (PHPP) and SAP.  Technical report, AECB, 2015.  accessed 08-06-2019.

[15]  R. G. B. Council.  Cum sa devii auditor energetic in Romania?  http://rogbc.org/Downloads/Cum_sa_devii_auditor_energetic_in_Romania.pdf, 2018.  accessed 07-07-2019.

[16]  D. E.-A. G. (dena).  Der energieausweis. gut informiert â€“ besser modernisiert.  https://www.dena.de/fileadmin/dena/Dokumente/Pdf/2070_Der_Energieausweis_Gut_informiert_BAU.pdf.  accessed 12-10-2019.

[17]  P. de Wilde, R. V. Jones, and A. Fuertes.  The gap between simulated and measured energy performance: A case study across six identical new-build flats in the uk.  https://pearl.plymouth.ac.uk/handle/10026.1/4320, 12 2015.  accessed 09-10-2019.

[18]  P. de Wilde and R. Jones.  The building energy performance gap: up close and personal.  In  CIBSE ASHRAE Technical Symposium 2014, At Dublin, Ireland, 04 2014.

[19]  P. de Wilde.  The gap between predicted and measured energy performance of buildings: A framework for investigation.   Automation in Construction, 41:40 – 49, 2014.

[20]  European Commision.  Horizon 2020, Work Programme 2018 - 2020.  https://ec.europa.eu/research/participants/data/ref/h2020/wp/2018-2020/main/h2020-wp1820-intro_en.pdf, 2019.  accessed 03-06-2019.

[21]  European Commision.  Horizon 2020, Work Programme 2018 - 2020, Next-generation of Energy Performance Assessment and Certification.  https://ec.europa.eu/info/funding-tenders/opportunities/portal/screen/opportunities/topic-details/lc-sc3-ee-5-2018-2019-2020, 2019.  accessed 30-08-2019.

[22]  European Commission.  Energy Efficiency Plan 2011.  https://eur-lex.europa.eu/LexUriServ/LexUriServ.do?uri=COM:2011:0109:FIN:EN:PDF, 2011.  accessed 28-05-2019.

[23]  European Commission.  Energy Efficiency and its contribution to energy security and the 2030 Framework for climate and energy policy.  https://eur-lex.europa.eu/legal-content/EN/TXT/?uri=CELEX, 2014.  accessed 29-05-2019.

[24]  European Commission.  Towards an Integrated Strategic Energy Technology (SET) Plan: Accelerating the European Energy System Transformation.  https://ec.europa.eu/energy/sites/ener/files/documents/1_EN_ACT_part1_v8_0.pdf, 2015.  accessed 29-05-2019.

[25]  B. P. I. Europe.  EUROPEâ€™S BUILDINGS UNDER THE MICROSCOPE A country-by-country review of the energy performance of buildings.   BPIE, 2011.

[26]  B. P. I. Europe.  Europeâ€™s buildings under the microscope. Executive Summary. A country-by-country review of the energy performance of buildings.   BPIE, 2011.

[27]  B. P. I. Europe.  Qualification and Accreditation Requirements of Building Energy Certifiers in EU28.  http://bpie.eu/wp-content/uploads/2015/09/BPIE-EPCsFactsheet-2015.pdf, 2015.  accessed 15-06-2019.

[28]  V. Fabi, R. Andersen, S. Corgnati, B. Olesen, and M. Filippi.  Description of occupant behaviour in building energy simulation : State-of-art and concepts for their improvement.   Building Simulation 2011, At Sydney, Australia, 11 2011.

[29]  A. Fensel and S. D. K. Tomic.  SESAME: Semantic Smart Metering - Enablers for Energy Efficiency.  https://www.sti-innsbruck.at, 2009.  accessed 03-06-2019.

[30]  T. A. for Environment Conscious Building (AECB).  https://www.aecb.net/about/about-the-aecb/aecb-history, 2016.  accessed 09-07-2019.

[31]  E. Fotopoulou, A. Zafeiropoulos, F. Terroso-Saenz, U. ÅžimÅŸek, A. GonzÃ¡lez Vidal, G. Tsiolis, P. Gouvas, P. Liapis, A. Fensel, and A. Skarmeta.  Providing personalized energy management and awareness services for energy efficiency in smart buildings.  In  Sensors, volume 17, page 2054, 09 2017.

[32]  E. Fotopoulou, A. Zafeiropoulos, F. Terroso, A. Gonzalez, A. Skarmeta, U. ÅžimÅŸek, and A. Fensel.  Data aggregation, fusion and recommendations for strengthening citizens energy-aware behavioural profiles.  In  2017 Global Internet of Things Summit (GIoTS), pages 1–6, 2017.

[33]  A. GonzÃ¡lez Vidal, M. V. Cano, F. Terroso-Saenz, and A. Skarmeta.  Towards energy efficiency smart buildings models based on intelligent data analytics.   Procedia Computer Science, 83:994–999, 12 2016.

[34]  A. GonzÃ¡lez Vidal, A. P. Ramallo-Gonzalez, F. Terroso-Saenz, and A. Skarmeta.  Data driven modeling for energy consumption prediction in smart buildings.  In  IEEE International Conference on Big Data, pages 4562–4569, 12 2017.

[35]  M. GrÃ¶ndahl and G. Gates.  The secrets of a passive house.  https://archive.nytimes.com/www.nytimes.com/interactive/2010/09/26/business/smart.html?ref=energy-environment, 2010.  accessed 09-07-2019.

[36]  E. Halawa and J. van Hoof.  The adaptive approach to thermal comfort: A critical overview.   Energy and Buildings, 51:101 – 110, 2012.

[37]  M. Herrando, D. Cambra, M. Navarro, L. de la Cruz, G. MillÃ¡n, and I. Zabalza.  Energy performance certification of faculty buildings in spain: The gap between estimated and real energy consumption.   Energy Conversion and Management, 125:141 – 153, 2016.  accessed 13-08-2019.

[38]  H. Hirner.  Building information modelling (bim).  https://www.austrian-standards.at/en/infopedia-topic-center/infopedia-articles/building-information-modelling-bim/.  accessed 18-11-2019.

[39]  R. Holopainen, P. Tuomaala, P. Hernandez, T. HÃ¤kkinen, K. Piira, and J. Piippo.  Comfort assessment in the context of sustainable buildings: Comparison of simplified and detailed human thermal sensation methods.   Building and Environment, 71:60 – 70, 2014.

[40]  Home Performance Coalition.  Hpxml specifications.  http://www.hpxmlonline.com/specifications/, 2019.  accessed 22-10-2019.

[41]  Z. C. Hub.  Closing the gap between designed and as built performance - end of term report.  http://www.zerocarbonhub.org/sites/default/files/resources/reports/EndofTerm_Summary.pdf, 03 - Todo month 2014.  accessed 13-08-2019.

[42]  Z. C. Hub.  Closing the gap between design and as-built performance - evidence review report.  http://www.zerocarbonhub.org/sites/default/files/resources/reports/Closing_the_Gap_Between_Design_and_As-Built_Performance-Evidence_Review_Report_0.pdf, 03 2014.  accessed 13-08-2019.

[43]  L. B. H. Bell.  A buildingSMART ontology, 2006.  accessed 10-11-2019.

[44]  IEA.  Energy performance certification of buildings, a policy tool to improve energy efficiency.  https://www.iea.org/publications/freepublications/publication/buildings_certification.pdf, 2010.  accessed 31-05-2019.

[45]  IEA.  25 Energy Efficiency Policy Recommendations, Update 2011.  https://www.iea.org/publications/freepublications/publication/25recom_2011.pdf, 2011.  accessed 31-05-2019.

[46]  S. Imam, D. Coley, and I. Walker.  The building performance gap: Are modellers literate?   Building Services Engineering Research and Technology, 38:014362441668464, 01 2017.  accessed 13-08-2019.

[47]  P. H. Institute.  Passive house requirements.  https://passivehouse.com/02_informations/02_passive-house-requirements/02_passive-house-requirements.htm, 2015.  accessed 09-07-2019.

[48]  International Code Council, Inc.  International Energy Conservation Code.  http://www.florenceaz.gov/wp-content/uploads/documents/IBCecc.2006.pdf, 2006.  accessed 10-10-2019.

[49]  D. R. J. Neymark.  Deep in data: Empirical data based software accuracy testing using the building america field data repository.  https://www.nrel.gov/docs/fy13osti/58893.pdf, 2013.  accessed 22-10-2019.

[50]  Klimaaktiv.  Wã¤rmeschutz.  https://www.klimaaktiv-elearning.at/Lernplattform/common/pages/c03_waermeschutz.html, 2019.  accessed 09-07-2019.

[51]  Knauf.  Building information modeling - die neue dimension der planung.  http://www.knauf.at/qr/bim.html.

[52]  A. H. Kristen Brand, Bernhard von Manteuffel.  Energy performance certificate database in denmark. fact sheet.  https://www.euki.de/wp-content/uploads/2018/09/fact-sheet-energy-performance-certificate-database-dk.pdf.  accessed 12-10-2019.

[53]  Lanner Electronics Inc.  5 Ways the Internet of Things Could Help Combat Climate Change.  https://www.lanner-america.com/blog/5-ways-internet-things-help-combat-climate-change, 2018.  accessed 25-05-2019.

[54]  A. Laskey and O. Kavazovic.  Opower. energy efficiency through behavioral science and technology.  http://assets.fiercemarkets.net/public/smartgridnews/energy_efficiency_through_behavioral_science_and_techn.pdf, https://www.youtube.com/watch?v=4cJ08wOqloc, 2011.  accessed 25-05-2019.

[55]  N. Mogles, I. Walker, A. P. Ramallo-GonzÃ¡lez, J. Lee, S. Natarajan, J. Padget, E. Gabe-Thomas, T. Lovett, G. Ren, S. Hyniewska, E. O’Neill, R. Hourizi, and D. Coley.  How smart do smart meters need to be?   Building and Environment, 125:439 – 450, 2017.

[56]  F. Nicol, M. Humphreys, and R. S.  Adaptive thermal comfort: Principles and practice.   Adaptive Thermal Comfort: Principles and Practice, pages 1–175, 01 2012.

[57]  F. Nicol and M. Humphreys.  Derivation of the adaptive equations for thermal comfort in free-running buildings in european standard en15251.   Building and Environment, 45(1):11 – 17, 2010.  International Symposium on the Interaction between Human and Building Environment Special Issue Section.

[58]  J. Nicol and M. Humphreys.  Adaptive thermal comfort and sustainable thermal standards for buildings.   Energy and Buildings, 34(6):563 – 572, 2002.  Special Issue on Thermal Comfort Standards.

[59]  M. Odemyr.  Our own homes are making us sick: Energy efficiency is part of the cure.   Euractiv, 2017.  https://www.euractiv.com/section/energy/opinion/our-own-homes-are-making-us-sick-energy-efficiency-is-part-of-the-cure/, accessed 08-06-2019.

[60]  I. W. I. of Things.  Introduction to digital twin: Simple, but detailed.  https://www.youtube.com/watch?v=RaOejcczPas.  accessed 19-11-2019.

[61]  C. Preidel, A. Bormann, C. Oberender, and M. Tretheway.  Seamless integration of common data environment access into BIM authoring applications: The BIM integration framework.   eWork and eBusiness in Architecture, Engineering and Construction - Christodoulou & Scherer (eds), pages 119–128, 2016.

[62]  A. Ramallo-Gonzalez, T. Blight, and D. Coley.  Robust low energy design that accounts for occupant behaviour.  In  1st International Conference in Building Sustainability Assessment, 09 2012.

[63]  A. Ramallo-Gonzalez.   Modelling Simulation and Optimisation of low-energy buildings.  PhD thesis, University of Exeter, 04 2013.

[64]  B. P. Ron Judkoff, Joel Neymark.  Building energy simulation test for existing homes (bestest-ex).  https://www.nrel.gov/docs/fy12osti/53701.pdf, 2011.  accessed 22-10-2019.

[65]  D. J. Rosenow, J. Graichen, and S. Scheuer.  Destination paris: Why the euâ€™s climate policy will derail without energy efficiency.   The Regulatory Assistance Project (RAP), 2018.  http://www.raponline.org/wp-content/uploads/2018/04/rap-oeko-scheuer-article7-ghg-2018-april-16-final2.pdf, accessed 08-06-2019.

[66]  R. Sacks, L. Ma, R. Yosef, A. Borrmann, S. Daum, and U. Kattel.  Semantic Enrichment for Building Information Modeling: Procedure for Compiling Inference Rules and Operators for Complex Geometry.  http://eprints.hud.ac.uk/id/eprint/32807/1/Ling.Ma.pdf, 2017.  accessed 11-11-2019.

[67]  M. Schwanzer and A. Fensel.  Energy consumption information services for smart home inhabitants.  In  Future Internet â€“ FIS 2010, pages 78–87, 09 2010.

[68]  T. E. S. Specialists.  Trnsys 18, a transientsystemsimulationprogram.  http://sel.me.wisc.edu/trnsys/features/trnsys18_0_updates.pdf, 2018.  accessed 12-10-2019.

[69]  TG Bahnhof Innsbruck.  http://www.parkgarage-innsbruck.at/en/extras/e-charging-stations/, 2019.  accessed 27-05-2019.

[70]  The European Parliament and the Council of the European Union.  Directive 2010/31/EU of the European Parliament and of the Council of 19 May 2010 on the energy performance of buildings.  https://eur-lex.europa.eu/legal-content/EN/TXT/?qid=1558968747323 uri=CELEX:32010L0031, 05 2010.  accessed 15-04-2019.

[71]  The European Parliament and the Council of the European Union.  Directive 2012/27/EU of the European Parliament and of the Council of 25 October 2012 on energy efficiency, amending Directives 2009/125/EC and 2010/30/EU and repealing Directives 2004/8/EC and 2006/32/EC.  https://eur-lex.europa.eu/legal-content/EN/TXT/?qid=1399375464230 uri=CELEX:32012L0027, 10 2012.  accessed 15-04-2019.

[72]  The European Parliament and the Council of the European Union.  Directive (EU) 2018/844 of the European Parliament and of the Council of 30 May 2018 amending Directive 2010/31/EU on the energy performance of buildings and Directive 2012/27/EU on energy efficiency.  https://eur-lex.europa.eu/legal-content/EN/TXT/?uri=uriserv8.156.01.0075.01.ENG, 05 2018.  accessed 15-04-2019.

[73]  S. D. K. Tomic, A. Fensel, M. Schwanzer, M. Veljovic, and M. Stefanovic.   Semantics for Energy Efficiency in Smart Home Environments, pages 429–454.  STI, 08 2011.

[74]  L. Tronchin and K. Fabbri.  Energy performance certificate of building and confidence interval in assessment: An italian case study.   Energy Policy, 48:176 – 184, 2012.  accessed 13-08-2019.

[75]  C. Trust.  Closing the gap - lessons learned on realising the potential of low carbon building design.  https://www.carbontrust.com/media/81361/ctg047-closing-the-gap-low-carbon-building-design.pdf, 07 2011.  accessed 13-08-2019.

[76]  P. Trust.  What is passivhaus?  "http://www.passivhaustrust.org.uk/what_is_passivhaus.php, 2019.  accessed 09-07-2019.

[77]  I. UK.  Building performance evaluation programme: Findings from non-domestic projects - getting the best from buildings.  https://assets.publishing.service.gov.uk/government/uploads/system/uploads/attachment_data/file/497761/Non Domestic_Building_performance_full_report_2016.pdf, 01 2016.  accessed 13-08-2019.

[78]  S. Vierra.  Green building standards and certification systems.   WBDG, 2016.  https://www.wbdg.org/resources/green-building-standards-and-certification-systems, accessed 15-06-2019.

[79]  R. Volk, J. Stengel, and F. Schultmann.  Building information modeling (bim) for existing buildings â€” literature review and future needs.   Automation in Construction, 38:109 – 127, 2014.

[80]  Wikipedia.  Passive house.  https://en.wikipedia.org/wiki/Passive_house, 2019.  accessed 09-07-2019.

[81]  Wikipedia.  Building information modeling.  https://en.wikipedia.org/wiki/Building_information_modeling.

Directive (EU) 2018/844 of the European Parliament and of the Council of 30 May 2018 on energy efficiency

a house, a flat or other place of residence

Directive 2010/31/EU of the European Parliament and of the Council of 19 May 2010 on the energy performance of buildings

Directive 2012/27/EU of the European Parliament and of the Council of 25 October 2012 on energy efficiency

Directive (EU) 2018/844 of the European Parliament and of the Council of 30 May 2018 amending Directive 2010/31/EU and Directive 2012/27/EU

https://unfccc.int/process-and-meetings/the-paris-agreement/the-paris-agreement

The United Nations is an intergovernmental organization for maintaining international peace and security, https://www.un.org

Source: Odyssee indicators, www.buildup.eu, the image was taken from [22]

ELENA https://www.eib.org/en/products/advising/elena/index.htm

https://ec.europa.eu/energy/sites/ener/files/documents/1_en_annexe_autre_acte_part1_v9.pdf

https://www.austrian-standards.at/en/products-services/ordering-international-standards/

The American National Standards Institute (ANSI) is a private non-profit organization that oversees the development of standards in the United States.

ASTM International, formerly known as American Society for Testing and Materials, is an international standards organization that develops and publishes technical standards.

The American Society of Heating, Refrigerating and Air-Conditioning Engineers (ASHRAE) is an American professional association aiming at improving heating, ventilation, air conditioning and refrigeration systems design and construction.

https://passivehouse.com

https://passivhaus-austria.org

https://passivhaustrust.org.uk

https://www.phius.org

Source: [35]

Sources: [35] and [47]

Source: [11]

Source: [11]

https://www.bre.co.uk/filelibrary/SAP/2012/SAP-2012_9-92.pdf, maintained by Building Research Establishment(BRE)

https://www.bregroup.com/sap/standard-assessment-procedure-sap-2016/

https://files.bregroup.com/SAP/SAP-10.0_24-07-2018.pdf, issued 2018

https://www.stroma.com/software/fsap

https://www.elmhurstenergy.co.uk/software/sap-energy-software

A list of all ASHRAE standards https://www.ashrae.org/technical-resources/standards-and-guidelines/read-only-versions-of-ashrae-standards

https://cordis.europa.eu/project/id/JOE3970066

https://www.cen.eu/news/brief-news/Pages/EN-2019-022.aspx

https://shop.austrian-standards.at/action/de/public/details/664889/OENORM_EN_16798-1_2019_11_01

https://www.bca.gov.sg/

https://www.energystar.gov/

http://www.buildup.eu/sites/default/files/content/215_23168_file.pdf

https://www.breeam.com/

https://new.usgbc.org/leed

https://www.thegbi.org/green-globes-certification/

http://www.ibec.or.jp/CASBEE/english/

https://media.alpinme.com/pws/LEED-Costs-Benefits-ROI1.pdf

also non-EU countries, e.g. Korea, Japan, the USA are part of the IEA

retrofitting refers to the addition of new technology or features to older systems

https://new.usgbc.org/leed

https://www.breeam.com/

https://simapro.com/

https://www.oib.or.at

Source: [50]

https://www.hersindex.com/

https://sparenergi.dk/

A comparison tool is offered by Carbon Trust, available at http://www.carbonbuzz.org/

https://www.researchgate.net/profile/Pieter_Wilde

https://ec.europa.eu/programmes/horizon2020/en

SESAME stands for SEmantic SmArt Metering

Ontologies are a set of concepts and categories in a subject area or domain that shows their properties and the relations between them (Wikipedia)

http://entropy-project.eu

http://linda-project.eu/tools/

Linked Data are interconnected data which are useful for semantic queries, http://linkeddata.org/

https://json-ld.org/

what is a recommender system

https://www.drools.org/

In statistical modelling, regression analysis is a set of statistical processes for estimating the relationships among variables. It includes many techniques for modelling and analysing several variables, when the focus is on the relationship between a dependent variable and one or more independent variables.

purely data-driven model where the input data is not known in forehand, but a training set of the on site measurements of a building is needed. It uses statistical or machine learning modelling approaches

white box models, are models that need detailed information of the physical characteristics of a building which has to be already available in forehand (e.g. the results of visual inspection, of information taken from design plans), before the model is applied. White-box models are not suited for online solutions.

Support Vector Regression (SVR) is a variant of Support Vector Machines (SVM) that fits the optimal curve out of which the training data does not deviate more than a small number ϵ)

The Regression Forest Model takes the average of the prediction of each regression tree, where a regression tree is a variant of decision trees, designed to approximate real-valued functions, instead of being used for classification methods

Grey-box models are a hybrid-model, where physical-data model and data-driven models are combined

The Gaussian distribution is used to represent real-valued random variables whose distributions are not known

https://energyplus.net/

http://trnsys.com/

https://app.edgebuildings.com/

http://opower.com

https://www.nrel.gov/buildings/bestest-ex.html

https://www.nrel.gov/buildings/bestest-ex-cases-physics.html

https://www.nrel.gov/buildings/bestest-ex-cases-utility.html

www.buildup.eu

https://www.alpine-space.eu/projects/atlas/en/home

http://task59.iea-shc.org/

https://www.autodesk.com/products/revit/overview

https://www.autodesk.com/products/civil-3d/overview

https://www.autodesk.com/products/navisworks/overview

https://www.autodesk.com/products/infraworks/overview

A Digital Twin is "a virtual representation of both the elements and the dynamics of how a device works and operates throughout it’s life-cycle. It is more than a blueprint, it is more than a schematic, it is not just a picture [...]" (IBM Watson) [60]

https://www.austrian-standards.at/

https://www.buildingsmart.org/

https://www.buildingsmart.org/users/services/buildingsmart-data-dictionary/

https://www.graphisoft.com/archicad/open_bim/

http://vclab.technion.ac.il/

https://docs.microsoft.com/en-us/sql/relational-databases/spatial/spatial-data-sql-server?view=sql-server-ver15

https://www.opengeospatial.org/standards/geosparql

https://www.cms.bgu.tum.de/en/research/17-research-projects/121-spatio-temporal-query-language-for-verifying-and-analyzing-4d-building-information-models

Source: [9]

https://github.com/opensourceBIM/BIMserver

https://a360.autodesk.com/

https://forge.autodesk.com/

https://www.graphisoft.com/bimcloud/overview/

https://www.bimcollab.com/

https://www.bimplus.net/

https://carbontrust.com

Combined heat and power (CHP) systems are small generators that fuelled e.g. with natural gas produce electricity and heat

http://www.european-calculator.eu/

heatroadmap.eu